## Slide 1
Why are uncertainties important for users of LST data?
Claire Bulgin
University of Reading, National Centre for Earth Observation

## Slide 2: Background
Every measurement we make (both in-situ or remotely sensed) deviates from the ‘true’ surface temperature due imperfections in the instrumentation and measurement process. Therefore, in order to use the data correctly, you must consider the uncertainty in the measurement.
Error and uncertainty are two different concepts…
Error: How different is the measured value from the true value?
Uncertainty: To what degree is the measured value in doubt?
Measurement error is often unknown (and if we did know what it was we would correct for it). We therefore provide an uncertainty, a measure of the dispersion of the error distribution.

## Slide 3: Diurnal cycle in LST (1)
Research question: What is the diurnal cycle in LST on a given day over this part of the African continent?
0000
2400
1200
280 K
330 K

## Slide 4: Diurnal cycle in LST (2)
0000
2400
1200
280 K
330 K
Tmax
Tmin
Diurnal
Range
Research question: What is the diurnal cycle in LST on a given day over this part of the African continent?

## Slide 5: Diurnal cycle in LST (3)
0000
2400
1200
280 K
330 K
Research question: What is the diurnal cycle in LST on a given day over this part of the African continent?

## Slide 6: Diurnal cycle in LST (4)
0000
2400
1200
280 K
330 K
Tmax
Tmin
Diurnal
Range
Research question: What is the diurnal cycle in LST on a given day over this part of the African continent?

## Slide 7: How do I use this information?
The simplest approach: Quantify the uncertainty on Tmax and Tmin using the uncertainties provided with the data.
What other research questions might I want to answer having found this result…?
Let’s consider using data from multiple days:
What is the average diurnal cycle from all days in a given month?
What is the climatological diurnal cycle for the same day over a number of different years?

## Slide 8: Diurnal cycle in LST (4)
0000
2400
1200
280 K
330 K
Tmax
Tmin
Diurnal
Range

## Slide 9: Uncertainty components (1)
Random
Surface
Atmosphere
=
Random ↓
Surface →
Atmosphere ↓
=
1) What is the average diurnal cycle from all days in a given month?
Tmax
Averaging multiple observations
The same will apply to all timesteps when quantifying the diurnal cycle

## Slide 10: Uncertainty components (2)
Random
Surface
Atmosphere
=
Random ↓
Surface ↓ or →
Atmosphere ↓
=
2) What is the climatological diurnal cycle for the same day over a number of different years?
Tmax
Averaging multiple observations
For the surface component consider location, time of year and length of data record: greening? Snow cover? Land use change?

## Slide 11: LST continental average (1)
Research question: What is the average LST over the African continent at a given time?
Total uncertainty

## Slide 12: Uncertainty components
Random
Surface
Atmosphere
=
Random ↓
Surface ↓
Atmosphere ↓
=
What is the average LST over the African continent at a given time?
Averaging multiple observations

## Slide 13: LST continental average (1)
Research question: What is the average LST over the African continent at a given time?
Total uncertainty
Note: for infrared data be aware that cloud cover adds extra uncertainty to spatial averages

## Slide 14: Summary
Uncertainties inform users of the degree to which the data are in doubt.
Uncertainties are relevant for all applications – scientific conclusions drawn from data require an understanding of uncertainty to ensure that they are robust.
The upcoming practical will enable you to explore the uncertainty information further and ask the demonstrators how it might be relevant to your application.